Submit to CDE a site approval and exemption request with Utility Plan documentation showing it unlikely that new / relocated lines would be closer to site, unless those lines reduce magnetic fields onto the site

YES

NO

NO

Submit to CDE an exemption request committing to only listed limited* uses in the setback, via a Site Approval Request letter, SFPD 4.02 and for all future plan submittals

NO

Only listed  Limited Uses*

Stop, find alternative site

YES

CDE notes setback exemption on Site Approval letter

Stop, find alternative site

Does the proposed school site meet the CCR Title 5 overhead transmission line setback from the power line easement to useable portions of the school site (or 25% of the setback for existing underground lines)?

Prepare a Field Management Plan (FMP) with Site Layout reducing exposure, feasible No/Low Cost EMF reduction measures, commitment for design best practices (may now request CDE FMP review)

LEA makes FMP available for Public Review and Conducts Board Hearing on FMP

LEA submits to CDE an exemption request that certifies FMP public review / board hearing, and identifies FMP measures to be implemented prior to occupancy of affected areas and future project consistency with FMP, via Site Approval Request letter and SFPD 4.02

Unrestricted Uses

Is transmission line less than 200 kV?

YES

Are only listed limited uses* or are any other unrestricted uses proposed in the setback?

Exemption is not required

YES

* See CDE Guidance effective 5/06 and CCR Title 5 Sections 14010 (c) & (u)

May 2006

Has the LEA justified to CDE’s satisfaction why a setback encroachment is necessary compared to other available alternative site(s)? (recommended prior to submittal of site approval documents)

Is the LEA only requesting an exemption to measure the setback from the power line at ground level instead of from the power line easement?

CALIFORNIA DEPARTMENT of EDUCATION RECOMMEDED GUIDANCE FOR POWER LINE SETBACK EXEMPTIONS*

CDE notes setback exemption on Site Approval Letter

NO, LEA will request setback encroachment