This document contains Volume 1, Disclaimer and Table of Contents of the 2007 Guidance for Protocol for School Site Risk Analysis. The entire guide is available at http://www.cde.ca.gov/ls/fa/sf/protocol07.asp.

California Department of Education

Guidance Protocol for

School Site Pipeline Risk Analysis

## Volume 1 – User’s Manual

# Prepared for:

# The California Department of Education

School Facilities Planning Division

1430 N Street, Suite 1201

# Sacramento, CA 95814

(916) 322-2470

http://www.cde.ca.gov/ls/fa/

# Prepared by:

# URS Corporation

9400 Amberglen Blvd.

Austin, TX  78729

# February 2007

Disclaimer

This Pipeline Risk Analysis Protocol has been prepared only as recommended guidance for use by California local educational agencies (LEAs) and the California Department of Education (CDE) in the preparation and review, respectively, of risk studies conducted for proposed school sites and projects.  It is intended to provide a consistent, professional basis for determining if a pipeline poses a safety hazard as required in the California Code of Regulations (CCR) Title 5 section 14010(h) -  Standards for School Site Selection.  Its sole purpose is to help LEAs reasonably document the estimated safety risk in context of those regulations, which will then be reviewed by CDE if the LEA is seeking approval of the school project.

Use of this Protocol is advisory only and utilization or compliance with its specific risk criteria or methods is not directly required by regulation or code.  Deviations or other methods adequately demonstrating pipeline safety in compliance with the regulations may be also utilized and be subjected to outside expert review as determined necessary by CDE.

URS’ interpretations and conclusions regarding this information and presented in this report are based on the expertise and experience of URS in conducting similar assessments and current local, state and Federal regulations and standards.  In performing the assessment, URS has relied upon representations and information furnished by individuals or technical publications noted in the report with respect to pipeline operations and the technical aspects of the accidental releases of hazardous materials from pipelines.  Accordingly, URS accepts no responsibility for any deficiency, misstatements, or inaccuracy contained in this report because of misstatements, omissions, misrepresentations, or fraudulent information provided by these individual or technical literature sources.

URS’ objective has been to perform our work with care, exercising the customary thoroughness and competence of environmental and engineering consulting professionals, in accordance with the standard for professional services for a national consulting firm at the time these services are provided.  It is important to recognize that a pipeline risk analysis does not predict future events, only an estimate of the chances that specified events might occur, within the scope of the study parameters.  Events might occur that were not foreseen in the scope of this report.  Therefore, URS cannot act as insurers and cannot “certify or underwrite” that a rupture or failure of the pipeline will not occur and no expressed or implied representation or warranty is included or intended in this report except that the work was performed within the limits prescribed with the customary thoroughness and competence of our profession.

While this document replaces its May 2002 and December 2005 Draft versions, additional modifications may be made from time to time and users should contact CDE/SFPD to ensure the latest version is being utilized.

Table of Contents – Volume 1

1.0	Introduction	1-1

1.1	Background on California Department of Education Requirements for

Pipeline Safety Determinations	1-1

1.1.1	California Department of Education Codes	1-2

1.1.2	California Code of Regulations	1-2

1.2	Objectives of Pipeline Risk Analyses and the Protocol	1-2

1.3	Manual Organization	1-4

2.0	Risk Analysis Overview	2-1

2.1	Pipeline Risks	2-1

2.2	Pipeline Risk Analysis Factors	2-2

2.3	Pipeline Risk Analysis Methods	2-2

2.3.1	Qualitative Methods	2-3

2.3.2	Quantitative Methods	2-3

2.4	Causes of Pipeline Failure	2-5

2.5	Pipeline Risk Evaluation	2-5

2.6	Risk Control through Prevention and Mitigation	2-6

2.6.1	Prevention Measures	2-6

2.6.2	Mitigation Measures	2-6

2.7	Limitations of Method	2-7

3.0	Consequences and Likelihood of Pipeline Failures	3-1

3.1	Consequences	3-1

3.2	Likelihood	3-3

4.0	Pipeline Risk Estimate Calculations	4-1

4.1	Applicability	4-2

4.2	General Data Requirements	4-2

4.3	General Description Approach	4-4

4.4	Stage 1 – Risk Screening Analysis	4-7

4.5	Stage 2 – Probabilistic Analysis	4-10

4.5.1	Technical Basis for Probability Calculations	4-10

4.5.2	Estimating the Individual Risk	4-12

4.5.3	Numerical Example for a Natural Gas Pipeline	4-27

4.5.4	Liquid Pipelines	4-33

4.6	Consequences Estimation	4-33

4.6.1	Natural Gas Release Consequences	4-34

4.6.2	Flammable Liquid Release Consequences	4-50

4.7	Other Special Considerations	4-53

4.7.1	Setback Distance for CDE IR Criterion	4-53

4.7.2	Population Risk Considerations	4-53

4.7.3	Multiple Pipelines	4-58

4.7.4	Storm Drains	4-58

4.7.5	Stage 3 Analysis – More Detailed Probabilistic Risk Analysis	4-59

Table of Contents – Volume 1 (continued)

4.7.6	Water Pipelines and Aqueducts	4-60

4.7.7	Uncertainty	4-62

5.0	The Pipeline Risk Analysis Report	5-1

5.1	Report Contents	5-1

5.2	Standard Report Forms	5-1

5.2.1	Form 1 – Risk Analysis Administrative and Summary Report	5-2

5.2.2	Form 2 – Risk Analysis Input Data	5-2

5.2.3	Form 3 – Pipeline Risk Analysis Standard Protocol Calculations

Summary	5-4

5.2.4	Form 4 – Pipeline Risk Analysis Alternative Calculations	5-4

5.2.5	Form 5 – Pipeline Risk Analysis Other Supporting Documentation	5-4

5.3	Maps		5-4

5.4	Mitigation	5-5

6.0	General and Cited Protocol References	6-1